Agriculture Shed/Farm Checklist

This checklist has been developed to assist schools with hazard identification and reporting.

The checklist is not intended as a definitive list for the identification of all hazards and provides guidance only. Staff are encouraged to make modifications to suit their specific environment. Note: there will be hazards/deficiencies not mentioned on the checklists that will need to be identified and managed.

| School or location (block/campus/room): |  |
| --- | --- |
| Person/s completing checklist: | Date: |
| Fire safety and emergency response | Action if required (ü if no action) |
| Evacuation alarms are audible in all areas of the shed/yard. If not, is an alternate emergency notification process in place and effective? |  |
| Fire control equipment including water supply and fire extinguishers (e.g. in buildings, on machinery) is available, easily accessible, unobstructed, signed, regularly tested and of the appropriate type. |  |
| Safety rules and evacuation routes are prominently displayed. |  |
| Doorways, walkways and evacuation exits are kept clear and at least 1000mm wide. |  |
| A first aid kit is readily available and stocked appropriately with content relevant to the type of injuries that might occur. |  |
| Management procedures | Action if required (ü if no action) |
| An induction program is in place for all staff and students. Records are kept of all induction and training. |  |
| Risk management documentation is maintained and available for use. |  |
| Safe operating procedures are available for all potentially hazardous equipment and are located on or near the equipment. |  |
| Required personal protective equipment is available and in good condition. |  |
| A regular shed/work area ‘housekeeping’ program is in place to maintain a safe work environment and address hazards |  |
| A process is in place to tag or lock out damaged machinery/equipment and report it for required maintenance. Staff are aware and can use the process. |  |
| Biosecurity management | Action if required (ü if no action) |
| Biosecurity requirements are documented (e.g. in a biosecurity plan) and signage and instructions/guidelines adhered to. |  |
| Routine surveillance, reporting and treatment is undertaken for biosecurity hazards e.g. - invasive weeds – all of Queensland to protect primary industries, natural environment, livestock - invasive insects e.g. fire ants (SE QLD), yellow crazy/electric ants (north QLD), stink bugs, feral animals, plant and animal disease |  |
| Sheds and structures | Action if required (ü if no action) |
| The area is clean and tidy with slip, trip and fall hazards managed. |  |
| There is sufficient space for each person to perform their work safely. |  |
| Floor surfaces are maintained in a safe condition and suitable for the type of activities conducted. |  |
| Walls, roller doors and roofs are safe and fully functional. |  |
| Doors, windows, locks and latches are in good condition and working order. Shed remains secure when unattended. |  |
| There is adequate ventilation and lighting to work safely inside structures. |  |
| Potable water is available indoors for drinking and emergency use. |  |
| Electrical | Action if required (ü if no action) |
| Residual current devices (RCD) are installed and function correctly. - Where RCDs are not available, a portable safety switch is used. - Portable electrical equipment is tagged, tested and in date |  |
| Indoor and outdoor power points, lights and switches are in good working order. |  |
| Electrical connections on water coolers are tested and in good condition. - Water coolers are connected to an RCD at the switchboard. |  |
| Locations of overhead and underground electrical hazards are identified and managed to prevent contact |  |
| Indoor electrical equipment is not used in outdoor or hostile environment settings e.g. for hydroponic and/or aquaculture systems, wet areas, external lighting etc. |  |
| Hazardous chemicals | Action if required (ü if no action) |
| A hazardous chemical register for the work area is readily available and accessible and includes current (within five years) safety data sheets. |  |
| A Chemwatch manifest of chemical stock is maintained and updated via stock annually. - A register of veterinary medicines is maintained e.g. a spreadsheet |  |
| All chemicals are stored and labelled appropriately, including decanted containers. Spray packs are emptied and washed after use. - Food and drink containers are NOT used for storing chemicals - Veterinary medicines are refrigerated separately to food and drink products for human or animal consumption. |  |
| Chemicals (including cleaning chemicals) are not stored in class work areas unless locked / secured. - Chemicals stored in sheds are held in dedicated secure storage. - Chemicals are stored away from fertilisers, seeds, food, stock feed and personal protective equipment. - Secondary containment/bunding is used to control spill risk - Veterinary medicines are stored separately to chemicals. |  |
| Expired/excess chemicals and containers are disposed of correctly and in a timely manner (i.e. they are not permitted to accumulate over long periods). |  |
| Spill control is in place (e.g. sand buckets, absorbents, drum bunding). |  |
| Storage | Action if required (ü if no action) |
| Required resources and equipment are stored safely. |  |
| Free standing shelves/cupboards are anchored to ensure stability. |  |
| Storage methods are used that will eliminate or minimise incidents (e.g. heavy objects stored between mid-thigh and shoulder height). |  |
| Plant and machinery (including vehicles) | Action if required (ü if no action) |
| Manuals are available for operating equipment and machinery. These are used to support safe work / instruction including review/development of SOPs. |  |
| Staff have training and skills to use identified equipment and/or professional development/skills development has been identified. |  |
| Inspection records and a maintenance register are in place for all equipment and machinery that requires regular maintenance and/or servicing. |  |
| Moving parts are appropriately guarded, guards are fitted and maintained, and guarding has not been bypassed or modified. |  |
| Tractors and mowers are fitted with roll-over protection if weight greater than 560kg. Where plant is less than 560kg, systems are in place to manage risks or overturning, ejection, collision and falling/falling objects. - The vehicle is conditionally registered where operated outside school grounds |  |
| Site specific hazards including slopes, gullies, unstable/uneven and or boggy ground have been identified, formally risk assessed and are managed in relation to safe operation of machinery and vehicles. |  |
| Working with Livestock | Action if required (ü if no action) |
| Yards, stables, catching and breeding pens are cleaned regularly and maintained e.g. no loose wire, star pickets, broken welds. Fences and gates are structurally sound and fit for purpose. |  |
| Drinking troughs and feed stations are clean and in good condition. |  |
| Training/induction has been conducted on the potential hazards associated with animals and safe animal handling techniques, including using races and yards, head bails, loading, tagging, treatments and husbandry. - SOPs / work instructions are readily available for equipment/work processes and are reviewed annually. - Training records are retained locally in G:Admin. |  |
| The risks of contracting animal borne diseases are managed via information, immunisation and the correct use of control measures in the workplace. - Q Fever and Melioidosis disease risk assessments are completed. |  |
| Staff and students are aware of animal ethics guidelines and requirements. These guidelines are adhered to and records kept. |  |
| All animal/contaminated waste is managed and disposed of appropriately. - An environmental management process is in place for waste leachate/dry ponds where present |  |
| All precautions are identified, in place and taken in relation to bacterial cleansing of equipment. |  |
| Correct personal hygiene practices are followed (e.g. hand washing). |  |
| Humane control/disposal of sick or injured animals adhered to. |  |
| Animal euthanasia procedures are documented and align with the department’s Animal Ethics requirements and Animal Care and Protection legislation. |  |
| General | Action if required (ü if no action) |
| All pathways/walkways are free of irregularities, obstacles, edge drop-offs or overhangs that can cause slips, trips, falls or injuries. |  |
| Retaining walls are safe and in good condition. Loose bricks/logs/rocks are repaired or removed as soon as possible. New walls do not use CCA timber. |  |
| All ramps and steps have handrails in good condition and installed where necessary. |  |
| Grounds are free of old equipment, rubbish and unwanted materials and vegetation (includes under-building storage areas and garden waste). |  |
| All outside benches, tables or other furniture are in good structural condition e.g. secured, splinter free. |  |
| Trees have been inspected for safety. (Where necessary sites can contact an arborist for expert advice.) |  |
| Areas that have access to heights (>potential for falls 2 metres) have restricted access or have been screened to prevent unauthorised access (e.g. pits/dips, docks, feed bins, silos, retaining walls with large drop offs). |  |
| Gutters and down-pipes are clear. This work is contracted where possible. |  |
| Star pickets are guarded with appropriate capping and only used temporarily. |  |
| Signs and fences are in place, in good condition and serviceable to control the use of machinery/vehicles. |  |
| Areas that flood or where water ponds are managed to ensure safe vehicle/pedestrian access, livestock are safe, and pests are controlled. |  |
| Other hazards such as sharps, glare, noise, fumes or vermin have been identified and are controlled in a safe and approved manner. |  |
| Use the following space to record additional issues or hazards. | Action if required |